## Sheet1
Número de WO | Autin TT | Hora de Creación del TT | Hora de Cierre del TT | Estado del TT | Hora de Clear de la Alarma | Alarma | Causa raíz | Tipo de Outage | Código Site | Nombre de Site | Prioridad del Site | Tipo tarea | Antigüedad (días) | Antigüedad (hh:mm:ss) | Departamento | Provincia | Distrito | Estado de la tarea (WO State) | O&M asignado | Fecha de creación (WO Creation date) | Comentarios Suspend | Comentarios complete | Comentarios adicionales | Category | Operate Phase | Nombre de personal FLM asignado | Estado suspendido | Fecha y hora de WO a estado complete | Fecha y hora de estado leave | Fecha y hora de WO a estado close | Fecha y hora de cancelación de WO | Es VIP | Fault Level | Number of DC Alarms
CM-20260914-00000140 | INC-20260914-00003721 | 2026-09-14 13:40:53 |  | running |  | 301-NE Is Disconnected |  | Total | 132523 | 0132523_MD_Padre_Aldamariz | P4 | FALLO DE RED_ENERGIA | 0 | 00:04:44 | MADRE DE DIOS | TAMBOPATA | TAMBOPATA | unscheduled | Lenin Quispe | 2026-09-14 13:56:31 | '- | '- |  | O&M CRM | create |  | NO |  |  |  |  | No | Alta | 1
CM-20260914-00000132 | INC-20260914-00002432 | 2026-09-14 10:09:31 |  | running | 2026-09-14 11:29:44 | 10202-AC Failure |  |  | 132910 | 0132910_AP_Santa_Rosa_Abancay | P4 | ENERGIA_AUSENCIA CON DESCARGA BB | 0 | 00:30:07 | APURIMAC | ABANCAY | ABANCAY | unscheduled | Juan Pelaez | 2026-09-14 13:31:08 | '- | '- |  | O&M CRM | create |  | NO |  |  |  |  | No | Media | 1
CM-20260914-00000123 | INC-20260914-00000328 | 2026-09-14 01:18:40 |  | running |  | 29243-Cell Capability Degraded |  |  | 133710 | 0133710_AY_Scarsi | P2 | ACC DEGRADACION_VSWR | 0 | 00:48:42 | AYACUCHO | HUAMANGA | AYACUCHO | unscheduled | Juan Pelaez | 2026-09-14 13:12:33 | '- | '- |  | O&M CRM | create |  | NO |  |  |  |  | No | Baja | 76
CM-20260914-00000108 | INC-20260914-00001928 | 2026-09-14 08:37:08 |  | running | 2026-09-14 13:20:11 | 10202-AC Failure |  |  | 130938 | 0130938_AQ_Chala | P1 | ENERGIA_AUSENCIA CON DESCARGA BB | 0 | 01:48:13 | AREQUIPA | CARAVELI | CHALA | inprocess | Ivan Bueno | 2026-09-14 12:13:02 | Type: PAUSE Reason: Otros Operation time: 2026-09-14 13:25:36 Creator: moayñayanqui.cobra Description: Corte imprevisto | '- |  | O&M CRM | arrive | MOISES ANGEL AYÑAYANQUI RIOS | YES |  |  |  |  | No | Alta
CM-20260914-00000107 | INC-20260914-00002845 | 2026-09-14 11:28:21 |  | running | 2026-09-14 13:49:31 | 26200-Board Hardware Fault |  |  | 133977 | 0133977_AQ_Olimpico | P2 | ACC DEGRADACION_HW FAULT | 0 | 01:48:51 | AREQUIPA | AREQUIPA | PAUCARPATA | inprocess | Ivan Bueno | 2026-09-14 12:12:24 | '- | '- |  | O&M CRM | arrive | RONALD CCOATA CIEZA | NO |  |  |  |  | No | Media | 1
CM-20260914-00000104 | INC-20260913-00003253 | 2026-09-13 11:56:39 |  | running |  | 25652-Cabinet Temperature Unacceptable |  |  | 134352 | 0134352_AY_Querobamba_Ciudad | P4 | CLIMA_TEMP ELEVADA G. OUTDOOR | 0 | 02:04:38 | AYACUCHO | SUCRE | QUEROBAMBA | dispatched | Juan Pelaez | 2026-09-14 11:56:37 | '- | '- |  | O&M CRM | dispatch | REYNER APAICO HURTADO | NO |  |  |  |  | No | Baja | 0
CM-20260914-00000101 | INC-20260914-00002029 | 2026-09-14 08:55:44 |  | running |  | 10202-AC Failure |  | Total | 132514 | 0132514_MD_La_Joya_Puerto_Mald | P3 | ENERGIA_AUSENCIA CON DESCARGA BB | 0 | 02:14:41 | MADRE DE DIOS | TAMBOPATA | TAMBOPATA | inprocess | Lenin Quispe | 2026-09-14 11:46:34 | '- | '- |  | O&M CRM | depart | ANDERSON CALANI HUILLCA | NO |  |  |  |  | No | Media | 1
CM-20260914-00000093 | INC-20260914-00002716 | 2026-09-14 11:08:14 |  | running |  | 29240-Cell Unavailable |  | Partial | 133922 | 0133922_AQ_Aptasa | P2 | ACC FALLO RED TEC_AFECTACION NODO | 0 | 02:36:10 | AREQUIPA | AREQUIPA | CERRO COLORADO | unscheduled | Ivan Bueno | 2026-09-14 11:25:05 | '- | '- |  | O&M CRM | create |  | NO |  |  |  |  | No | Media | 17
CM-20260914-00000091 | INC-20260914-00002523 | 2026-09-14 10:33:41 |  | running | 2026-09-14 10:36:57 | 1603-Rectifier Protection | Energia |  | 131324 | 0131324_CS_Instituto_Tupac_Amaru | P1 | ENERGIA_FALLA RECTIFICADOR(ES) | 0 | 02:44:10 | CUSCO | CUSCO | SAN SEBASTIAN | closed | Juan Pelaez | 2026-09-14 11:17:05 | '- | Operator: user:System Complete time: 2026-09-14 11:49:55 Description: Checklist Comepleto |  | O&M CRM | close | YOVANIE ENRIQUEZ CASTILLO | NO | 2026-09-14 11:49:56 | 2026-09-14 11:50:10 | 2026-09-14 11:50:13 |  | No | Media | 5
CM-20260914-00000090 | INC-20260914-00002700 | 2026-09-14 11:04:23 |  | running |  | 12793-ETH_LINK_DOWN |  |  | 134658 | 0134658_AQ_El_Chaparral | P2 | CORTE | 0 | 02:54:59 | AREQUIPA | AREQUIPA | YURA | unscheduled | Ivan Bueno | 2026-09-14 11:06:16 | '- | '- |  | O&M PEXT | create |  | NO |  |  |  |  | No | Critical | 2
CM-20260914-00000080 | INC-20260914-00002177 | 2026-09-14 09:26:46 |  | running |  | 25654-Battery Temperature Unacceptable |  | Partial | 136504 | 0136504_AQ_IB_MAP_Cayma_U | P2 | CLIMA_TEMP ELEVADA INDOOR | 0 | 03:46:53 | AREQUIPA | AREQUIPA | CAYMA | unscheduled | Ivan Bueno | 2026-09-14 10:14:22 | '- | '- |  | O&M CRM | create |  | NO |  |  |  |  | No | Media | 0
CM-20260914-00000067 | INC-20260914-00002255 | 2026-09-14 09:35:23 |  | running |  | 166-TEMP_ALARM |  |  | 132542 | 0132542_MD_Boca_Colorado | P2 | CLIMA_TEMP ELEVADA INDOOR | 0 | 04:24:56 | MADRE DE DIOS | MANU | MADRE DE DIOS | unscheduled | Lenin Quispe | 2026-09-14 09:36:19 | '- | '- |  | O&M CRM | create |  | NO |  |  |  |  | No | Media | 1
CM-20260914-00000066 | INC-20260914-00002221 | 2026-09-14 09:30:46 |  | running | 2026-09-14 09:30:05 | 29240-Cell Unavailable |  |  | 13223268 | 013223268_JU_Pangoa_Asuncion | P4 | ACC FALLO RED TEC_AFECTACION NODO | 0 | 04:28:14 | JUNIN | SATIPO | PANGOA | unscheduled | Carlos Lazo | 2026-09-14 09:33:01 | '- | '- |  | O&M CRM | create |  | NO |  |  |  |  | No | Media | 18
CM-20260914-00000063 | INC-20260914-00001991 | 2026-09-14 08:48:58 | 2026-09-14 12:42:17 | completed | 2026-09-14 11:41:24 | 25622-Mains Input Out of Range | Energia |  | 131324 | 0131324_CS_Instituto_Tupac_Amaru | P1 | ENERGIA_AUSENCIA CON DESCARGA BB | 0 | 04:32:13 | CUSCO | CUSCO | SAN SEBASTIAN | closed | Juan Pelaez | 2026-09-14 09:29:02 | Type: PAUSE Reason: SLAAutoPaused Operation time: 2026-09-14 11:43:54 Creator: yoenriquez.cobra Description: Energía Type: RESUME Reason: Operation time: 2026-09-14 11:55:56 Creator: yoenriquez.cobra Description: Energía | Operator: user:System Complete time: 2026-09-14 11:56:25 Description: Checklist Comepleto |  | O&M CRM | close | YOVANIE ENRIQUEZ CASTILLO | NO | 2026-09-14 11:56:27 | 2026-09-14 11:57:51 | 2026-09-14 11:57:53 |  | No | Alta | 3
CM-20260914-00000061 | INC-20260914-00001895 | 2026-09-14 08:27:21 |  | running |  | 65144-Low Fuel Tank Level |  |  | 130917 | 0130917_AQ_Catas | P2 | ENTORNO_BAJO NIVEL COMBUSTIBLE | 0 | 04:46:44 | AREQUIPA | ISLAY | PUNTA DE BOMBON | unscheduled | Ivan Bueno | 2026-09-14 09:14:31 | '- | '- |  | O&M CRM | create |  | NO |  |  |  |  | No | Baja | 1
CM-20260914-00000054 | INC-20260914-00001614 | 2026-09-14 07:26:27 | 2026-09-14 12:40:01 | completed | 2026-09-14 11:38:53 | 65144-Low Fuel Tank Level |  |  | 130845 | 0130845_IC_Chincha_Baja | P1 | ENTORNO_BAJO NIVEL COMBUSTIBLE | 0 | 06:16:40 | ICA | CHINCHA | ALTO LARAN | inprocess | Ronald Abarca | 2026-09-14 07:44:35 | Type: PAUSE Reason: Otros Operation time: 2026-09-14 12:32:46 Creator: lupadilla.cobra Description: Se ejecutará faena de 40 Glns en tanque principal del site | '- |  | O&M CRM | arrive | LUIS ANGEL PADILLA PORTILLA | YES |  |  |  |  | No | Media | 1
CM-20260914-00000047 | INC-20260914-00001567 | 2026-09-14 07:04:25 | 2026-09-14 12:44:05 | completed | 2026-09-14 11:42:30 | 301-NE Is Disconnected |  |  | 13221064 | 013221064_JU_RioNegroCiudad | P4 | FALLO DE RED_ENERGIA | 0 | 06:40:12 | JUNIN | SATIPO | RIO NEGRO | canceled | Carlos Lazo | 2026-09-14 07:21:03 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-14 12:44:05 | No | Alta | 1
CM-20260914-00000048 | INC-20260914-00001566 | 2026-09-14 07:04:24 |  | running | 2026-09-14 11:41:59 | 301-NE Is Disconnected |  |  | 13222329 | 013222329_JU_SatipoBorde | P4 | FALLO DE RED_ENERGIA | 0 | 06:40:14 | JUNIN | SATIPO | SATIPO | unscheduled | Carlos Lazo | 2026-09-14 07:21:01 | '- | '- |  | O&M CRM | create |  | NO |  |  |  |  | No | Alta | 1
CM-20260914-00000049 | INC-20260914-00000845 | 2026-09-14 03:13:53 |  | running | 2026-09-14 09:31:36 | 10202-AC Failure |  |  | 133563 | 0133563_JU_Tongoba_Mazamari | P3 | ENERGIA_AUSENCIA CON DESCARGA BB | 0 | 06:40:42 | JUNIN | SATIPO | MAZAMARI | inprocess | Carlos Lazo | 2026-09-14 07:20:33 | '- | '- |  | O&M CRM | arrive | MARCO ALBERTO BENDEZU MORALES | NO |  |  |  |  | No | Media
CM-20260914-00000046 | INC-20260914-00001564 | 2026-09-14 07:04:22 | 2026-09-14 12:44:11 | completed | 2026-09-14 11:42:24 | 301-NE Is Disconnected |  |  | 131683 | 0131683_JU_Satipo | P2 | FALLO DE RED_ENERGIA | 0 | 06:40:56 | JUNIN | SATIPO | SATIPO | inprocess | Carlos Lazo | 2026-09-14 07:20:19 | Type: PAUSE Reason: Grupo Electrógeno Instalado Operation time: 2026-09-14 12:04:26 Creator: ibendezum.cobra Description: SE SUSPENDE TAREA POR CORTE DE ENERGÍA COMERCIAL EN TODA LA ZONA, SITE SE ENCUENTRA CON GRUPO ELECTRÓGENO PORTÁTIL DE 12KW OPERANDO Y EN CARGA | '- |  | O&M CRM | arrive | IVAN DENIS BENDEZU MORALES | YES |  |  |  |  | No | Alta | 1
CM-20260914-00000039 | INC-20260914-00000942 | 2026-09-14 03:46:21 | 2026-09-14 10:16:01 | completed | 2026-09-14 09:15:23 | 25622-Mains Input Out of Range |  |  | 133541 | 0133541_LH_Monterrey | P3 | ENERGIA_AUSENCIA CON DESCARGA BB | 0 | 07:24:18 | HUANUCO | LEONCIO PRADO | MARIANO DAMASO BERAUN | canceled | Javier Mendez | 2026-09-14 06:36:57 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-14 10:16:01 | No | Media | 1
CM-20260914-00000035 | INC-20260914-00001323 | 2026-09-14 05:50:35 |  | running | 2026-09-14 05:50:55 | 13750-Lithium Battery Communication Failure |  |  | 133635 | 0133635_HU_Paucara | P4 | ENERGIA_ROBO BATERIAS | 0 | 08:06:19 | HUANCAVELICA | ACOBAMBA | ANDABAMBA | inprocess | Carlos Lazo | 2026-09-14 05:54:56 | '- | '- |  | O&M CRM | depart | RONY ELVIS CURASMA ROJAS | NO |  |  |  |  | No | Media | 0
CM-20260914-00000033 | INC-20260914-00001254 | 2026-09-14 05:23:19 | 2026-09-14 07:08:02 | completed | 2026-09-14 06:06:21 | 301-NE Is Disconnected |  |  | 134395 | 0134395_JU_Hatun_Sausa | P4 | FALLO DE RED_ENERGIA | 0 | 08:22:59 | JUNIN | JAUJA | SAUSA | canceled | Carlos Lazo | 2026-09-14 05:38:16 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-14 07:08:02 | No | Alta | 1
CM-20260914-00000031 | INC-20260914-00001280 | 2026-09-14 05:34:08 | 2026-09-14 07:28:07 | completed | 2026-09-14 06:26:47 | 11357-Low Battery Capacity |  |  | 130840 | 0130840_IC_Rep_Marcona | P2 | ENERGIA_FALLA EN BATERIAS | 0 | 08:24:16 | ICA | NAZCA | MARCONA | canceled | Ronald Abarca | 2026-09-14 05:36:59 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-14 07:28:08 | No | Media | 0
CM-20260914-00000029 | INC-20260914-00001267 | 2026-09-14 05:30:31 |  | running |  | 65118-Site Door Has Been Opened |  |  | 132801 | 0132801_PN_Jayllihuaya | P4 | ENERGIA_PUERTAS/INTRUSION | 0 | 08:28:15 | PUNO | PUNO | PUNO | dispatched | Lenin Quispe | 2026-09-14 05:33:00 | '- | '- |  | O&M CRM | dispatch | MARCO ANTONIO SOTO BENIQUE | NO |  |  |  |  | No | Baja | 1
CM-20260914-00000028 | INC-20260914-00001258 | 2026-09-14 05:26:06 |  | running |  | 377-BUS_ERR |  |  | 133037 | 0133037_JU_Alto_Peru | P3 | FALLA DE EQUIPAMIENTO | 0 | 08:32:11 | JUNIN | YAULI | YAULI | unscheduled | Carlos Lazo | 2026-09-14 05:29:04 | '- | '- |  | O&M TX | create |  | NO |  |  |  |  | No | Critical | 1
CM-20260914-00000027 | INC-20260913-00007227 | 2026-09-13 23:13:08 |  | running |  | 26530-RF Unit ALD Current Out of Range |  |  | 13214101 | 013214101_IC_Ingreso_Piscontes | P4 | ACC PERDIDA GESTION_HW FAULT | 0 | 08:42:44 | ICA | ICA | LOS AQUIJES | unscheduled | Ronald Abarca | 2026-09-14 05:18:31 | '- | '- |  | O&M CRM | create |  | NO |  |  |  |  | No | Baja | 1
CM-20260914-00000025 | INC-20260914-00001164 | 2026-09-14 04:58:33 | 2026-09-14 09:06:04 | completed | 2026-09-14 05:05:10 | 999999999-Communication Between NMS And NE Is Abnormal |  |  | 131207 | 0131207_TA_Cerro_Para | P0 | ENTORNO_FALLA EQ/GESTION | 0 | 09:00:56 | TACNA | TACNA | TACNA | canceled | Lenin Quispe | 2026-09-14 05:00:19 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-14 09:06:05 | No | Media | 1
CM-20260914-00000021 | INC-20260913-00000724 | 2026-09-13 03:07:51 | 2026-09-14 07:14:14 | completed | 2026-09-14 06:12:40 | 25622-Mains Input Out of Range |  |  | 133243 | 0133243_IC_Bodega_COW | P2 | ENERGIA_AUSENCIA CON DESCARGA BB | 0 | 10:30:37 | ICA | PISCO | PARACAS | inprocess | Ronald Abarca | 2026-09-14 03:30:38 | Type: PAUSE Reason: Grupo Electrógeno Instalado Operation time: 2026-09-14 06:18:02 Creator: lupadilla.cobra Description: IC_BODEGA_COW ; Realizamos encendido de GEP DUCATI de 12 Kw para continuar con respaldo de tecnologías en site ante corte prolongado de energía AC en instalaciones del fundo Bodega 1615. | '- |  | O&M CRM | arrive | LUIS ANGEL PADILLA PORTILLA | YES |  |  |  |  | No | Media
CM-20260914-00000018 | INC-20260913-00007317 | 2026-09-13 23:33:42 |  | running | 2026-09-14 09:15:42 | 13801-Battery Discharge |  |  | 132787 | 0132787_CS_Plaza_Calca | P4 | ENERGIA_AUSENCIA CON DESCARGA BB | 0 | 11:04:12 | CUSCO | CALCA | CALCA | closed | Juan Pelaez | 2026-09-14 02:57:03 | Type: PAUSE Reason: Grupo Electrógeno Instalado Operation time: 2026-09-14 10:29:48 Creator: alalvarez.cobra Description: Se instala GEP. Type: RESUME Reason: Operation time: 2026-09-14 11:00:14 Creator: alalvarez.cobra Description: G | Operator: user:System Complete time: 2026-09-14 11:46:29 Description: Checklist Comepleto |  | O&M CRM | close | ALEX DOMINGO ALVAREZ PUMA | NO | 2026-09-14 11:46:30 | 2026-09-14 11:47:00 | 2026-09-14 11:47:01 |  | No | Media | 1
CM-20260914-00000019 | INC-20260913-00004235 | 2026-09-13 14:01:31 |  | running |  | 10169-Load Fuse Broken |  |  | 133670 | 0133670_CS_Cusco_Montessori | P4 | ENERGIA_FALLA RECTIFICADOR(ES) | 0 | 11:04:44 | CUSCO | CUSCO | WANCHAQ | accepted | Juan Pelaez | 2026-09-14 02:56:31 | Type: PAUSE Reason: SLAAutoPaused Operation time: 2026-09-14 07:45:23 Creator: yoenriquez.cobra Description: En ruta | '- |  | O&M CRM | accept | YOVANIE ENRIQUEZ CASTILLO | YES |  |  |  |  | No | Baja | 1
CM-20260914-00000014 | INC-20260914-00000557 | 2026-09-14 02:26:56 | 2026-09-14 06:42:07 | completed | 2026-09-14 02:41:34 | 999999999-Communication Between NMS And NE Is Abnormal |  |  | 130821 | 0130821_IC_Ayabaca | P0 | ENTORNO_FALLA EQ/GESTION | 0 | 11:32:19 | ICA | ICA | ICA | canceled | Ronald Abarca | 2026-09-14 02:28:56 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-14 06:42:07 | No | Media | 1
CM-20260914-00000010 | INC-20260914-00000305 | 2026-09-14 01:12:15 |  | running | 2026-09-14 05:41:17 | 29240-Cell Unavailable |  |  | 132288 | 0132288_IC_Ciudad_Santiago | P2 | ACC FALLO RED TEC_AFECTACION NODO | 0 | 12:12:57 | ICA | ICA | SANTIAGO | unscheduled | Ronald Abarca | 2026-09-14 01:48:18 | '- | '- |  | O&M CRM | create |  | NO |  |  |  |  | No | Media | 3
CM-20260914-00000009 | INC-20260913-00006866 | 2026-09-13 21:57:46 |  | running | 2026-09-14 11:05:39 | 10202-AC Failure |  |  | 13201588 | 013201588_LH_San_Miguel_Chaglla | P4 | ENERGIA_AUSENCIA CON DESCARGA BB | 0 | 12:42:43 | HUANUCO | PACHITEA | CHAGLLA | unscheduled | Javier Mendez | 2026-09-14 01:18:32 | '- | '- |  | O&M CRM | create |  | NO |  |  |  |  | No | Media | 1
CM-20260914-00000001 | INC-20260913-00007313 | 2026-09-13 23:32:41 |  | running |  | 10202-AC Failure |  | Total | 13203208 | 013203208_LH_PuertoInca_Oriental | P4 | ENERGIA_AUSENCIA CON DESCARGA BB | 0 | 13:54:18 | HUANUCO | PUERTO INCA | PUERTO INCA | inprocess | Javier Mendez | 2026-09-14 00:06:57 | Type: PAUSE Reason: Grupo Electrógeno Instalado Operation time: 2026-09-14 11:21:40 Creator: cezevallos.cobra Description: Se dio prioridad a otros cortes | '- |  | O&M CRM | depart | CESAR ANTONIO ZEVALLOS CERNA | YES |  |  |  |  | No | Media | 1
CM-20260913-00000314 | INC-20260913-00007307 | 2026-09-13 23:31:39 |  | running | 2026-09-14 08:08:19 | 25626-Power Module Abnormal |  |  | 132787 | 0132787_CS_Plaza_Calca | P4 | ENERGIA_FALLA RECTIFICADOR(ES) | 0 | 14:12:44 | CUSCO | CALCA | CALCA | unscheduled | Juan Pelaez | 2026-09-13 23:48:31 | '- | '- |  | O&M CRM | create |  | NO |  |  |  |  | No | Baja | 9
CM-20260913-00000311 | INC-20260913-00007329 | 2026-09-13 23:37:51 |  | running | 2026-09-14 06:18:03 | 13069-RADIO_RSL_BEYONDTH |  |  | 130842 | 0130842_IC_Los_Aquijes | P2 | DEGRADACION | 0 | 14:22:59 | ICA | ICA | PUEBLO NUEVO | unscheduled | Ronald Abarca | 2026-09-13 23:38:16 | '- | '- |  | O&M TX | create |  | NO |  |  |  |  | Si | Minor | 1
CM-20260913-00000310 | INC-20260913-00007259 | 2026-09-13 23:19:22 | 2026-09-14 07:14:04 | completed | 2026-09-14 06:12:03 | 301-NE Is Disconnected |  |  | 134357 | 0134357_AY_Lecclespata | P2 | FALLO DE RED_ENERGIA | 0 | 14:26:15 | AYACUCHO | HUAMANGA | AYACUCHO | canceled | Juan Pelaez | 2026-09-13 23:35:00 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-14 07:14:05 | No | Alta | 1
CM-20260913-00000308 | INC-20260913-00007204 | 2026-09-13 23:08:39 |  | running |  | 301-NE Is Disconnected |  | Total | 133079 | 0133079_JU_Yauli_Pueblo | P4 | FALLO DE RED_ENERGIA | 0 | 14:36:17 | JUNIN | YAULI | YAULI | inprocess | Carlos Lazo | 2026-09-13 23:24:58 | '- | '- |  | O&M CRM | arrive | LENIN MOSCOSO GARCIA | NO |  |  |  |  | No | Alta | 1
CM-20260913-00000306 | INC-20260913-00007160 | 2026-09-13 22:56:36 | 2026-09-14 07:14:08 | completed | 2026-09-14 06:12:21 | 1550-Mains Failure |  |  | 134357 | 0134357_AY_Lecclespata | P2 | ENERGIA_AUSENCIA CON DESCARGA BB | 0 | 15:03:52 | AYACUCHO | HUAMANGA | AYACUCHO | inprocess | Juan Pelaez | 2026-09-13 22:57:23 | Type: PAUSE Reason: Grupo Electrógeno Instalado Operation time: 2026-09-14 06:21:57 Creator: emcontreras.cobra Description: Se energiasa con gep | '- |  | O&M CRM | arrive | EMANUEL SAMUEL CONTRERAS ZEGARRA | YES |  |  |  |  | No | Media
CM-20260913-00000305 | INC-20260913-00007105 | 2026-09-13 22:45:20 |  | running |  | 10202-AC Failure |  | Total | 13201024 | 013201024_LH_PuertoSungaro | P4 | ENERGIA_AUSENCIA CON DESCARGA BB | 0 | 15:15:18 | HUANUCO | PUERTO INCA | PUERTO INCA | dispatched | Javier Mendez | 2026-09-13 22:45:57 | '- | Operator: user:cezevallos.cobra Complete time: Description: |  | O&M CRM | complete | CESAR ANTONIO ZEVALLOS CERNA | NO |  |  |  |  | No | Media
CM-20260913-00000301 | INC-20260913-00006933 | 2026-09-13 22:10:43 | 2026-09-13 23:52:04 | completed | 2026-09-13 22:50:30 | 65116-GE2 Warning |  |  | 13214029 | 013214029_IC_San_Antonio_Ica | P4 | ENTORNO_FALLA DE GEE | 0 | 15:48:18 | ICA | ICA | SANTIAGO | canceled | Ronald Abarca | 2026-09-13 22:12:57 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-13 23:52:05 | No | Baja | 0
CM-20260913-00000289 | INC-20260913-00005592 | 2026-09-13 18:05:35 | 2026-09-13 22:26:02 | completed | 2026-09-13 21:24:55 | 13801-Battery Discharging |  |  | 132406 | 0132406_AQ_Sector_IX | P3 | ENERGIA_AUSENCIA CON DESCARGA BB | 0 | 17:00:11 | AREQUIPA | AREQUIPA | CERRO COLORADO | canceled | Ivan Bueno | 2026-09-13 21:01:04 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-13 22:26:02 | No | Media | 1
CM-20260913-00000285 | INC-20260913-00006426 | 2026-09-13 20:38:40 | 2026-09-13 21:48:07 | completed | 2026-09-13 20:01:09 | 25622-Mains Input Out of Range |  |  | 13221064 | 013221064_JU_RioNegroCiudad | P4 | ENERGIA_AUSENCIA CON DESCARGA BB | 0 | 17:21:53 | JUNIN | SATIPO | RIO NEGRO | canceled | Carlos Lazo | 2026-09-13 20:39:22 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-13 21:48:07 | No | Media
CM-20260913-00000281 | INC-20260913-00006290 | 2026-09-13 20:15:39 | 2026-09-13 21:14:02 | completed | 2026-09-13 20:32:44 | 412-POWER_ABNORMAL |  |  | 13221086 | 013221086_JU_Capital_Ecologica | P4 | ACC DEGRADACION_HW FAULT | 0 | 17:44:17 | JUNIN | SATIPO | SATIPO | unscheduled | Carlos Lazo | 2026-09-13 20:16:58 | '- | '- |  | O&M CRM | create |  | NO |  |  |  |  | No | Media | 2
CM-20260913-00000271 | INC-20260913-00006007 | 2026-09-13 19:22:28 |  | running |  | 29240-Cell Unavailable |  | Partial | 133046 | 0133046_JU_Cesar_Vallejo | P1 | ACC FALLO RED TEC_AFECTACION NODO | 0 | 18:16:58 | JUNIN | HUANCAYO | PUCARA | unscheduled | Carlos Lazo | 2026-09-13 19:44:17 | '- | '- |  | O&M CRM | create |  | NO |  |  |  |  | No | Media | 2
CM-20260913-00000270 | INC-20260913-00005518 | 2026-09-13 17:54:45 | 2026-09-13 20:58:06 | completed | 2026-09-13 19:56:25 | 25622-Mains Input Out of Range |  |  | 13222329 | 013222329_JU_SatipoBorde | P4 | ENERGIA_AUSENCIA CON DESCARGA BB | 0 | 18:18:42 | JUNIN | SATIPO | SATIPO | canceled | Carlos Lazo | 2026-09-13 19:42:33 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-13 20:58:06 | No | Media | 1
CM-20260913-00000263 | INC-20260913-00005682 | 2026-09-13 18:21:35 |  | running |  | 26235-RF Unit Maintenance Link Failure |  | Partial | 133049 | 0133049_JU_Cochas_Chico | P3 | ACC FALLO RED TEC_AFECTACION NODO | 0 | 19:04:55 | JUNIN | HUANCAYO | EL TAMBO | unscheduled | Carlos Lazo | 2026-09-13 18:56:20 | '- | '- |  | O&M CRM | create |  | NO |  |  |  |  | No | Media | 1
CM-20260913-00000260 | INC-20260913-00005739 | 2026-09-13 18:35:26 |  | running |  | 25672-Burglar Alarm |  |  | 131613 | 0131613_JU_Jauja | P1 | ENERGIA_PUERTAS/INTRUSION | 0 | 19:24:25 | JUNIN | JAUJA | ACOLLA | closed | Carlos Lazo | 2026-09-13 18:36:50 | '- | Operator: user:carlos.lazo Complete time: 2026-09-14 10:45:35 Description: Checklist Comepleto |  | O&M CRM | close | RAUL RIVERA TRUCIOS | NO | 2026-09-14 10:46:49 | 2026-09-14 10:46:05 | 2026-09-14 10:46:55 |  | No | Media
CM-20260913-00000252 | INC-20260913-00005426 | 2026-09-13 17:34:05 | 2026-09-14 07:22:03 | completed | 2026-09-14 06:20:50 | 301-NE Is Disconnected |  |  | 13210113 | 013210113_IC_Drokasa_2 | P4 | FALLO DE RED_ENERGIA | 0 | 20:10:36 | ICA | ICA | PUEBLO NUEVO | canceled | Ronald Abarca | 2026-09-13 17:50:39 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-14 07:22:03 | No | Alta | 1
CM-20260913-00000250 | INC-20260913-00005488 | 2026-09-13 17:43:57 | 2026-09-13 23:18:16 | completed | 2026-09-13 22:16:06 | 25622-Mains Input Out of Range |  |  | 133076 | 0133076_JU_San_Martin_Pangoa | P4 | ENERGIA_AUSENCIA CON DESCARGA BB | 0 | 20:16:07 | JUNIN | SATIPO | PANGOA | canceled | Carlos Lazo | 2026-09-13 17:45:08 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-13 23:18:16 | No | Media | 0
CM-20260913-00000251 | INC-20260913-00005489 | 2026-09-13 17:43:57 | 2026-09-13 19:08:01 | completed | 2026-09-13 18:06:36 | 25622-Mains Input Out of Range |  |  | 133580 | 0133580_JU_Asuncion | P2 | ENERGIA_AUSENCIA CON DESCARGA BB | 0 | 20:16:34 | JUNIN | SATIPO | PANGOA | canceled | Carlos Lazo | 2026-09-13 17:44:41 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-13 19:08:02 | No | Media | 0
CM-20260913-00000249 | INC-20260913-00005487 | 2026-09-13 17:43:57 | 2026-09-13 18:46:19 | completed | 2026-09-13 17:44:32 | 25622-Mains Input Out of Range |  |  | 13223270 | 013223270_JU_Bernabe_Pangoa | P4 | ENERGIA_AUSENCIA CON DESCARGA BB | 0 | 20:16:37 | JUNIN | SATIPO | PANGOA | canceled | Carlos Lazo | 2026-09-13 17:44:38 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-13 18:46:20 | No | Media | 0
CM-20260913-00000247 | INC-20260913-00005485 | 2026-09-13 17:43:54 | 2026-09-13 18:46:25 | completed | 2026-09-13 17:44:30 | 25622-Mains Input Out of Range |  |  | 13221762 | 013221762_JU_Pangoa_Sonomoro | P4 | ENERGIA_AUSENCIA CON DESCARGA BB | 0 | 20:16:53 | JUNIN | SATIPO | PANGOA | canceled | Carlos Lazo | 2026-09-13 17:44:22 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-13 18:46:25 | No | Media | 2
CM-20260913-00000248 | INC-20260913-00005486 | 2026-09-13 17:43:56 | 2026-09-13 19:04:10 | completed | 2026-09-13 18:03:50 | 25622-Mains Input Out of Range |  |  | 13223268 | 013223268_JU_Pangoa_Asuncion | P4 | ENERGIA_AUSENCIA CON DESCARGA BB | 0 | 20:16:55 | JUNIN | SATIPO | PANGOA | canceled | Carlos Lazo | 2026-09-13 17:44:20 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-13 19:04:10 | No | Media | 2
CM-20260913-00000245 | INC-20260913-00004300 | 2026-09-13 14:08:17 | 2026-09-13 21:36:05 | completed | 2026-09-13 20:35:35 | 25622-Mains Input Out of Range |  |  | 13226176 | 013226176_JU_Hilser | P4 | ENERGIA_AUSENCIA CON DESCARGA BB | 0 | 20:32:13 | JUNIN | SATIPO | SATIPO | canceled | Carlos Lazo | 2026-09-13 17:29:02 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-13 21:36:05 |  | Media | 1
CM-20260913-00000242 | INC-20260912-00006544 | 2026-09-12 17:22:42 |  | running | 2026-09-14 06:08:38 | 26522-RF Unit RX Channel RTWP/RSSI Unbalanced |  |  | 13211411 | 013211411_IC_ProAgroColca | P4 | ACC DEGRADACION_VSWR | 0 | 20:45:00 | ICA | ICA | SALAS | unscheduled | Ronald Abarca | 2026-09-13 17:16:15 | '- | '- |  | O&M CRM | create |  | NO |  |  |  |  | No | Baja | 1
CM-20260913-00000241 | INC-20260913-00005117 | 2026-09-13 16:36:49 |  | running |  | 26235-RF Unit Maintenance Link Failure |  | Partial | 134974 | 0134974_JU_IB_OP_Huancayo_U | P2 | ACC FALLO RED TEC_AFECTACION NODO | 0 | 20:48:58 | JUNIN | HUANCAYO | HUANCAYO | dispatched | Carlos Lazo | 2026-09-13 17:12:17 | '- | '- |  | O&M CRM | dispatch | MIGUEL ANGEL HINOJOSA EGOAVIL | NO |  |  |  |  | No | Media | 3
CM-20260913-00000238 | INC-20260913-00005193 | 2026-09-13 16:51:17 |  | running | 2026-09-14 03:22:28 | 13069-RADIO_RSL_BEYONDTH |  |  | 134407 | 0134407_CP_Agregador_Pajonal | P0 | DEGRADACION | 0 | 21:08:18 | PASCO | OXAPAMPA | OXAPAMPA | unscheduled | Carlos Lazo | 2026-09-13 16:52:57 | '- | '- |  | O&M TX | create |  | NO |  |  |  |  | No | Minor | 1
CM-20260913-00000236 | INC-20260913-00002619 | 2026-09-13 10:27:21 | 2026-09-14 04:46:01 | completed | 2026-09-13 16:45:42 | 26234-BBU CPRI Interface Error |  |  | 134074 | 0134074_MQ_Alto_Ilo_R1 | P1 | ACC PERDIDA GESTION_HW FAULT | 0 | 21:28:38 | MOQUEGUA | ILO | ILO | canceled | Lenin Quispe | 2026-09-13 16:32:37 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-14 04:46:01 | No | Baja | 1
CM-20260913-00000231 | INC-20260913-00004982 | 2026-09-13 16:14:38 |  | running | 2026-09-14 06:12:10 | 13069-RADIO_RSL_BEYONDTH |  |  | 130818 | 0130818_IC_Paracas | P1 | DEGRADACION | 0 | 21:44:43 | ICA | PISCO | PARACAS | unscheduled | Ronald Abarca | 2026-09-13 16:16:32 | '- | '- |  | O&M TX | create |  | NO |  |  |  |  | No | Minor | 1
CM-20260913-00000230 | INC-20260913-00004871 | 2026-09-13 15:50:23 | 2026-09-13 18:42:15 | completed | 2026-09-13 17:40:20 | 65065-GE Low Oil Pressure |  |  | 132525 | 0132525_AQ_Coropuna | P1 | ENTORNO_FALLA DE GEE | 0 | 21:46:59 | AREQUIPA | CASTILLA | MACHAGUAY | canceled | Ivan Bueno | 2026-09-13 16:14:16 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-13 18:42:15 | No | Media | 0
CM-20260913-00000228 | INC-20260913-00003279 | 2026-09-13 12:01:19 | 2026-09-14 13:28:01 | completed | 2026-09-14 12:26:32 | 65141-GE Running |  |  | 130845 | 0130845_IC_Chincha_Baja | P1 | ENTORNO_GEE RUNNING | 0 | 22:04:58 | ICA | CHINCHA | ALTO LARAN | inprocess | Ronald Abarca | 2026-09-13 15:56:17 | Type: PAUSE Reason: Otros Operation time: 2026-09-14 12:31:32 Creator: lupadilla.cobra Description: Monitoreo de cargas en site para validación correspondiente | '- |  | O&M CRM | arrive | LUIS ANGEL PADILLA PORTILLA | YES |  |  |  |  | No | Baja | 0
CM-20260913-00000224 | INC-20260913-00004086 | 2026-09-13 13:38:16 |  | running | 2026-09-13 14:28:25 | 10202-AC Failure |  |  | 130917 | 0130917_AQ_Catas | P2 | ENERGIA_AUSENCIA CON DESCARGA BB | 0 | 22:16:55 | AREQUIPA | ISLAY | PUNTA DE BOMBON | unscheduled | Ivan Bueno | 2026-09-13 15:44:20 | '- | '- |  | O&M CRM | create |  | NO |  |  |  |  | No | Media | 1
CM-20260913-00000221 | INC-20260913-00000565 | 2026-09-13 02:45:21 |  | running |  | 1604-Rectifier Fault |  |  | 132819 | 0132819_PN_Palomani | P4 | ENERGIA_FALLA RECTIFICADOR(ES) | 0 | 22:20:49 | PUNO | PUNO | PUNO | unscheduled | Lenin Quispe | 2026-09-13 15:40:26 | '- | '- |  | O&M CRM | create |  | NO |  |  |  |  | No | Baja | 0
CM-20260913-00000217 | INC-20260913-00000480 | 2026-09-13 02:30:12 |  | running | 2026-09-13 07:12:51 | 2501150008-Falla en un modulo rectificador |  |  | 130843 | 0130843_IC_Caleta_San_Andres | P2 | ENERGIA_FALLA RECTIFICADOR(ES) | 0 | 22:36:38 | ICA | PISCO | SAN ANDRES | unscheduled | Ronald Abarca | 2026-09-13 15:24:37 | '- | '- |  | O&M CRM | create |  | NO |  |  |  |  | No | Baja | 0
CM-20260913-00000218 | INC-20260913-00000477 | 2026-09-13 02:29:42 |  | running |  | 25626-Power Module Abnormal |  |  | 13313745 | 013313745_PN_YunguyoEste | P4 | ENERGIA_FALLA RECTIFICADOR(ES) | 0 | 22:36:53 | PUNO | YUNGUYO | YUNGUYO | unscheduled | Lenin Quispe | 2026-09-13 15:24:22 | '- | '- |  | O&M CRM | create |  | NO | [5 empty] | Baja | 2
CM-20260913-00000214 | INC-20260913-00003275 | 2026-09-13 12:00:17 | 2026-09-14 02:14:01 | completed | 2026-09-14 01:13:08 | 25622-Mains Input Out of Range |  |  | 13221086 | 013221086_JU_Capital_Ecologica | P4 | ENERGIA_AUSENCIA CON DESCARGA BB | 0 | 22:40:16 | JUNIN | SATIPO | SATIPO | canceled | Carlos Lazo | 2026-09-13 15:20:59 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-14 02:14:01 | No | Media | 1
CM-20260913-00000213 | INC-20260913-00004616 | 2026-09-13 15:02:01 | 2026-09-13 22:40:06 | completed | 2026-09-13 21:39:23 | 301-NE Is Disconnected |  |  | 13222329 | 013222329_JU_SatipoBorde | P4 | FALLO DE RED_ENERGIA | 0 | 22:42:57 | JUNIN | SATIPO | SATIPO | canceled | Carlos Lazo | 2026-09-13 15:18:18 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-13 22:40:06 | No | Alta | 1
CM-20260913-00000208 | INC-20260913-00004295 | 2026-09-13 14:07:43 | 2026-09-14 11:24:05 | completed | 2026-09-13 23:22:01 | 26200-Board Hardware Fault |  |  | 133977 | 0133977_AQ_Olimpico | P2 | ACC DEGRADACION_HW FAULT | 0 | 23:02:43 | AREQUIPA | AREQUIPA | PAUCARPATA | canceled | Ivan Bueno | 2026-09-13 14:58:32 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-14 11:24:05 | No | Media | 0
CM-20260913-00000200 | INC-20260913-00002768 | 2026-09-13 10:51:06 | 2026-09-13 20:10:01 | completed | 2026-09-13 19:09:12 | 10202-AC Failure |  |  | 13295536 | 013295536_CP_Colonia_Omega | P4 | ENERGIA_AUSENCIA CON DESCARGA BB | 0 | 23:48:39 | PASCO | OXAPAMPA | VILLA RICA | canceled | Carlos Lazo | 2026-09-13 14:12:36 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-13 20:10:01 | No | Media | 1
CM-20260913-00000191 | INC-20260913-00003822 | 2026-09-13 13:10:34 | 2026-09-13 17:40:11 | completed | 2026-09-13 16:39:07 | 301-NE Is Disconnected |  |  | 134501 | 0134501_LH_Baltodano_Cerro | P2 | FALLO DE RED_ENERGIA | 1 | 00:34:41 | HUANUCO | MARAÑON | CHOLON | canceled | Javier Mendez | 2026-09-13 13:26:34 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-13 17:40:11 | No | Alta | 1
CM-20260913-00000181 | INC-20260913-00000181 | 2026-09-13 00:45:54 |  | running |  | 26546-RF Unit External Power Supply Insufficient |  | Partial | 134398 | 0134398_JU_Terminal_Hyo | P4 | ACC DEGRADACION_HW FAULT | 1 | 01:00:04 | JUNIN | HUANCAYO | EL TAMBO | unscheduled | Carlos Lazo | 2026-09-13 13:01:11 | '- | '- |  | O&M CRM | create |  | NO |  |  |  |  | No | Media | 1
CM-20260913-00000175 | INC-20260913-00003519 | 2026-09-13 12:31:15 | 2026-09-13 14:18:07 | completed | 2026-09-13 13:16:03 | 301-NE Is Disconnected |  |  | 134357 | 0134357_AY_Lecclespata | P2 | FALLO DE RED_ENERGIA | 1 | 01:14:58 | AYACUCHO | HUAMANGA | AYACUCHO | canceled | Juan Pelaez | 2026-09-13 12:46:17 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-13 14:18:07 | No | Alta | 1
CM-20260913-00000163 | INC-20260913-00003457 | 2026-09-13 12:23:26 |  | running |  | 65053-Door Open |  |  | 131103 | 0131103_MQ_Cruz_del_Portillo | P2 | ENERGIA_PUERTAS/INTRUSION | 1 | 01:36:55 | MOQUEGUA | MARISCAL NIETO | MOQUEGUA | unscheduled | Lenin Quispe | 2026-09-13 12:24:20 | '- | '- |  | O&M CRM | create |  | NO |  |  |  |  | No | Baja | 1
CM-20260913-00000159 | INC-20260913-00003428 | 2026-09-13 12:19:20 |  | running | 2026-09-13 17:56:11 | 13821-BMU Missing |  |  | 130878 | 0130878_IC_Entrada_Parcona | P4 | ENERGIA_ROBO BATERIAS | 1 | 01:40:43 | ICA | ICA | PARCONA | unscheduled | Ronald Abarca | 2026-09-13 12:20:32 | '- | '- |  | O&M CRM | create |  | NO |  |  |  |  | No | Media | 1
CM-20260913-00000153 | INC-20260913-00001885 | 2026-09-13 08:26:35 | 2026-09-14 11:48:01 | completed | 2026-09-14 10:46:08 | 10202-AC Failure |  |  | 13210113 | 013210113_IC_Drokasa_2 | P4 | ENERGIA_AUSENCIA CON DESCARGA BB | 1 | 02:14:59 | ICA | ICA | PUEBLO NUEVO | canceled | Ronald Abarca | 2026-09-13 11:46:16 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-14 11:48:01 | No | Media | 1
CM-20260913-00000150 | INC-20260913-00001813 | 2026-09-13 08:11:16 | 2026-09-13 23:38:12 | completed | 2026-09-13 22:36:08 | 10202-AC Failure | Energia |  | 130878 | 0130878_IC_Entrada_Parcona | P4 | ENERGIA_AUSENCIA CON DESCARGA BB | 1 | 02:28:37 | ICA | ICA | PARCONA | closed | Ronald Abarca | 2026-09-13 11:32:38 | Type: PAUSE Reason: Grupo Electrógeno Instalado Operation time: 2026-09-13 12:45:58 Creator: yaescajadillo.cobra Description: Se instala GEP Type: RESUME Reason: Operation time: 2026-09-13 19:34:18 Creator: yaescajadillo.cobra Description: Se cierra tarea | Operator: user:System Complete time: 2026-09-13 19:39:42 Description: Checklist Comepleto |  | O&M CRM | close | YAIR HANS ESCAJADILLO MALLMA | NO | 2026-09-13 19:39:44 | 2026-09-13 19:39:59 | 2026-09-13 19:40:01 |  | No | Media | 1
CM-20260913-00000149 | INC-20260913-00002237 | 2026-09-13 09:26:57 | 2026-09-13 15:54:03 | completed | 2026-09-13 14:53:26 | 10202-AC Failure | Energia |  | 133311 | 0133311_LH_Minas_Pampa | P2 | ENERGIA_AUSENCIA CON DESCARGA BB | 1 | 02:28:57 | HUANUCO | YAROWILCA | JACAS CHICO | closed | Javier Mendez | 2026-09-13 11:32:18 | '- | Operator: user:System Complete time: 2026-09-13 21:48:29 Description: Checklist Comepleto |  | O&M CRM | close | CESAR ANTONIO ZEVALLOS CERNA | NO | 2026-09-13 21:48:30 | 2026-09-13 21:48:50 | 2026-09-13 21:48:53 |  | No | Media | 1
CM-20260913-00000148 | INC-20260913-00001808 | 2026-09-13 08:10:08 | 2026-09-13 17:02:20 | completed | 2026-09-13 16:01:49 | 10202-AC Failure |  |  | 13140114 | 013140114_AQ_Chucarapi | P4 | ENERGIA_AUSENCIA CON DESCARGA BB | 1 | 02:30:29 | AREQUIPA | ISLAY | COCACHACRA | canceled | Ivan Bueno | 2026-09-13 11:30:46 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-13 17:02:20 | No | Media | 1
CM-20260913-00000144 | INC-20260913-00001749 | 2026-09-13 07:56:42 | 2026-09-13 16:08:15 | completed | 2026-09-13 15:07:13 | 10202-AC Failure |  |  | 133190 | 0133190_JU_San_Luis_de_Shuaro | P4 | ENERGIA_AUSENCIA CON DESCARGA BB | 1 | 02:45:01 | JUNIN | CHANCHAMAYO | SAN LUIS DE SHUARO | canceled | Carlos Lazo | 2026-09-13 11:16:14 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-13 16:08:15 | No | Media | 1
CM-20260913-00000123 | INC-20260913-00002541 | 2026-09-13 10:11:34 | 2026-09-13 14:14:13 | completed | 2026-09-13 12:03:26 | 301-NE Is Disconnected |  |  | 133058 | 0133058_JU_Mazamari | P4 | FALLO DE RED_ENERGIA | 1 | 03:34:15 | JUNIN | SATIPO | MAZAMARI | canceled | Carlos Lazo | 2026-09-13 10:27:00 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-13 14:14:13 | No | Alta | 1
CM-20260913-00000122 | INC-20260913-00002574 | 2026-09-13 10:19:26 |  | running |  | 65115-GE Warning |  |  | 130932 | 0130932_AQ_Camana_Cerro | P1 | ENTORNO_FALLA DE GEE | 1 | 03:40:12 | AREQUIPA | CAMANA | SAMUEL PASTOR | unscheduled | Ivan Bueno | 2026-09-13 10:21:03 | '- | '- |  | O&M CRM | create |  | NO |  |  |  |  | No | Media | 0
CM-20260913-00000110 | INC-20260913-00000871 | 2026-09-13 03:57:22 | 2026-09-13 23:34:06 | completed | 2026-09-13 22:32:21 | 10202-AC Failure | Energia |  | 130944 | 0130944_AQ_Apacheta | P2 | ENERGIA_AUSENCIA CON DESCARGA BB | 1 | 04:18:39 | AREQUIPA | AREQUIPA | JACOBO HUNTER | closed | Ivan Bueno | 2026-09-13 09:42:36 | '- | Operator: user:System Complete time: 2026-09-13 15:49:57 Description: Checklist Comepleto |  | O&M CRM | close | MANUEL JOEL CCARI MAMANI | NO | 2026-09-13 15:49:58 | 2026-09-13 15:55:00 | 2026-09-13 15:55:02 |  | No | Media | 1
CM-20260913-00000108 | INC-20260913-00001814 | 2026-09-13 08:11:15 | 2026-09-13 11:00:29 | completed | 2026-09-13 09:59:24 | 25622-Mains Input Out of Range |  |  | 130929 | 0130929_AQ_Cocachacra | P4 | ENERGIA_AUSENCIA CON DESCARGA BB | 1 | 04:20:30 | AREQUIPA | ISLAY | COCACHACRA | inprocess | Ivan Bueno | 2026-09-13 09:40:45 | Type: PAUSE Reason: SLAAutoPaused Operation time: 2026-09-13 09:44:11 Creator: mcacyallah.cobra Description: . Type: RESUME Reason: Operation time: 2026-09-13 17:51:06 Creator: mcacyallah.cobra Description: . Type: PAUSE Reason: SLAAutoPaused Operation time: 2026-09-13 17:55:02 Creator: mcacyallah.cobra Description: . | '- |  | O&M CRM | arrive | TONY CACYALLA HUAMANI | YES |  |  |  |  | No | Media
CM-20260913-00000104 | INC-20260913-00001307 | 2026-09-13 06:11:30 | 2026-09-14 00:32:08 | completed | 2026-09-13 23:30:59 | 10202-AC Failure | Energia |  | 134432 | 0134432_CP_Villa_Rica_Pasco | P4 | ENERGIA_AUSENCIA CON DESCARGA BB | 1 | 04:28:53 | PASCO | OXAPAMPA | VILLA RICA | closed | Carlos Lazo | 2026-09-13 09:32:22 | '- | Operator: user:System Complete time: 2026-09-13 19:14:57 Description: Checklist Comepleto |  | O&M CRM | close | LENIN MOSCOSO GARCIA | NO | 2026-09-13 19:14:57 | 2026-09-13 19:15:36 | 2026-09-13 19:15:38 |  | No | Media | 1
CM-20260913-00000102 | INC-20260913-00001299 | 2026-09-13 06:10:28 | 2026-09-13 23:26:01 | completed | 2026-09-13 22:24:05 | 10202-AC Failure |  |  | 13291084 | 013291084_CP_Selvamonos | P4 | ENERGIA_AUSENCIA CON DESCARGA BB | 1 | 04:30:04 | PASCO | OXAPAMPA | OXAPAMPA | canceled | Carlos Lazo | 2026-09-13 09:31:11 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-13 23:26:01 | No | Media | 1
CM-20260913-00000092 | INC-20260913-00001276 | 2026-09-13 06:08:59 | 2026-09-13 21:34:03 | completed | 2026-09-13 20:33:57 | 10202-AC Failure |  |  | 13221757 | 013221757_JU_Virgen_Merced | P4 | ENERGIA_AUSENCIA CON DESCARGA BB | 1 | 04:30:06 | JUNIN | CHANCHAMAYO | PERENE | canceled | Carlos Lazo | 2026-09-13 09:31:09 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-13 21:34:04 | No | Media | 1
CM-20260913-00000094 | INC-20260913-00001280 | 2026-09-13 06:09:26 | 2026-09-13 21:10:05 | completed | 2026-09-13 20:09:20 | 10202-AC Failure |  | Total | 13203208 | 013203208_LH_PuertoInca_Oriental | P4 | ENERGIA_AUSENCIA CON DESCARGA BB | 1 | 04:30:28 | HUANUCO | PUERTO INCA | PUERTO INCA | canceled | Javier Mendez | 2026-09-13 09:30:47 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-13 21:10:05 | No | Media | 1
CM-20260913-00000097 | INC-20260913-00001284 | 2026-09-13 06:09:31 | 2026-09-13 10:30:07 | completed | 2026-09-13 09:28:00 | 25622-Mains Input Out of Range |  |  | 13226176 | 013226176_JU_Hilser | P4 | ENERGIA_AUSENCIA CON DESCARGA BB | 1 | 04:30:29 | JUNIN | SATIPO | SATIPO | canceled | Carlos Lazo | 2026-09-13 09:30:46 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-13 10:30:08 |  | Media | 1
CM-20260913-00000093 | INC-20260913-00001278 | 2026-09-13 06:09:03 |  | running | 2026-09-13 17:30:11 | 10202-AC Failure |  |  | 13221748 | 013221748_JU_Esperanza_Pichanaki | P4 | ENERGIA_AUSENCIA CON DESCARGA BB | 1 | 04:30:34 | JUNIN | CHANCHAMAYO | PERENE | unscheduled | Carlos Lazo | 2026-09-13 09:30:41 | '- | '- |  | O&M CRM | create |  | NO |  |  |  |  | No | Media | 1
CM-20260913-00000099 | INC-20260913-00001295 | 2026-09-13 06:09:58 | 2026-09-13 21:26:04 | completed | 2026-09-13 20:24:03 | 25622-Mains Input Out of Range |  |  | 13223025 | 013223025_JU_Raimondi_Satipo | P4 | ENERGIA_AUSENCIA CON DESCARGA BB | 1 | 04:30:34 | JUNIN | SATIPO | SATIPO | canceled | Carlos Lazo | 2026-09-13 09:30:41 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-13 21:26:04 | No | Media | 1
CM-20260913-00000091 | INC-20260913-00001277 | 2026-09-13 06:09:02 | 2026-09-14 04:28:02 | completed | 2026-09-14 03:26:21 | 10202-AC Failure |  |  | 13222367 | 013222367_JU_Puente_Pichanaki | P4 | ENERGIA_AUSENCIA CON DESCARGA BB | 1 | 04:30:50 | JUNIN | CHANCHAMAYO | PICHANAQUI | canceled | Carlos Lazo | 2026-09-13 09:30:25 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-14 04:28:02 | No | Media | 1
CM-20260913-00000098 | INC-20260913-00001288 | 2026-09-13 06:09:39 | 2026-09-13 22:44:10 | completed | 2026-09-13 21:43:14 | 25622-Mains Input Out of Range |  |  | 13221064 | 013221064_JU_RioNegroCiudad | P4 | ENERGIA_AUSENCIA CON DESCARGA BB | 1 | 04:30:50 | JUNIN | SATIPO | RIO NEGRO | canceled | Carlos Lazo | 2026-09-13 09:30:25 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-13 22:44:10 | No | Media | 1
CM-20260913-00000100 | INC-20260913-00001292 | 2026-09-13 06:09:59 | 2026-09-13 19:04:06 | completed | 2026-09-13 18:00:45 | 10202-AC Failure |  |  | 133058 | 0133058_JU_Mazamari | P4 | ENERGIA_AUSENCIA CON DESCARGA BB | 1 | 04:30:50 | JUNIN | SATIPO | MAZAMARI | canceled | Carlos Lazo | 2026-09-13 09:30:25 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-13 19:04:06 | No | Media | 1
CM-20260913-00000090 | INC-20260913-00001272 | 2026-09-13 06:08:26 | 2026-09-14 00:10:04 | completed | 2026-09-13 23:08:11 | 10202-AC Failure |  |  | 134697 | 0134697_JU_Palma_Soriano | P4 | ENERGIA_AUSENCIA CON DESCARGA BB | 1 | 04:32:13 | JUNIN | CHANCHAMAYO | PERENE | inprocess | Carlos Lazo | 2026-09-13 09:29:02 | '- | '- |  | O&M CRM | arrive | MARCO ALBERTO BENDEZU MORALES | NO |  |  |  |  | No | Media | 1
CM-20260913-00000089 | INC-20260913-00001274 | 2026-09-13 06:08:55 | 2026-09-13 21:14:07 | completed | 2026-09-13 20:12:10 | 10202-AC Failure |  |  | 13221756 | 013221756_JU_Laguna_Caiman | P4 | ENERGIA_AUSENCIA CON DESCARGA BB | 1 | 04:32:40 | JUNIN | CHANCHAMAYO | PERENE | canceled | Carlos Lazo | 2026-09-13 09:28:35 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-13 21:14:08 | No | Media | 1
CM-20260913-00000085 | INC-20260912-00002733 | 2026-09-12 09:21:50 |  | running |  | 13860-TEC Alarm |  |  | 134389 | 0134389_AQ_El_Carmen_AQP | P4 | ENTORNO_FALLA FAN | 1 | 04:38:59 | AREQUIPA | AREQUIPA | AREQUIPA | unscheduled | Ivan Bueno | 2026-09-13 09:22:16 | '- | '- |  | O&M CRM | create |  | NO |  |  |  |  | No | Baja | 0
CM-20260913-00000076 | INC-20260913-00001967 | 2026-09-13 08:39:32 | 2026-09-13 13:20:06 | completed | 2026-09-13 11:09:35 | 301-NE Is Disconnected |  |  | 133031 | 0133031_JU_Tzancuvatziari | P2 | FALLO DE RED_ENERGIA | 1 | 05:06:43 | JUNIN | SATIPO | SATIPO | inprocess | Carlos Lazo | 2026-09-13 08:54:32 | '- | Operator: user:mabendezu.cobra Complete time: Description: |  | O&M CRM | arrive | MARCO ALBERTO BENDEZU MORALES | NO |  |  |  |  | No | Alta | 1
CM-20260913-00000075 | INC-20260913-00001815 | 2026-09-13 08:11:15 | 2026-09-13 12:32:01 | completed | 2026-09-13 11:31:38 | 10202-AC Failure | Energia |  | 131139 | 0131139_IC_Tinguina_R1 | P1 | ENERGIA_AUSENCIA CON DESCARGA BB | 1 | 05:12:42 | ICA | ICA | LA TINGUIÑA | closed | Ronald Abarca | 2026-09-13 08:48:33 | Type: PAUSE Reason: Grupo Electrógeno Instalado Operation time: 2026-09-13 11:40:18 Creator: yaescajadillo.cobra Description: Se instala GEP Type: RESUME Reason: Operation time: 2026-09-14 10:25:20 Creator: yaescajadillo.cobra Description: Se cierra tarea | Operator: user:System Complete time: 2026-09-14 10:29:04 Description: Checklist Comepleto |  | O&M CRM | close | YAIR HANS ESCAJADILLO MALLMA | NO | 2026-09-14 10:29:06 | 2026-09-14 10:29:23 | 2026-09-14 10:29:25 |  | No | Alta | 1
CM-20260913-00000066 | INC-20260913-00001305 | 2026-09-13 06:11:30 | 2026-09-13 18:20:08 | completed | 2026-09-13 17:19:08 | 10202-AC Failure |  |  | 134405 | 0134405_CP_Cerro_Oxapampa | P2 | ENERGIA_AUSENCIA CON DESCARGA BB | 1 | 05:42:39 | PASCO | OXAPAMPA | CHONTABAMBA | canceled | Carlos Lazo | 2026-09-13 08:18:36 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-13 18:20:09 | No | Media | 1
CM-20260913-00000065 | INC-20260913-00001293 | 2026-09-13 06:09:59 | 2026-09-13 16:46:25 | completed | 2026-09-13 15:44:17 | 10202-AC Failure |  |  | 134431 | 0134431_CP_Oxapampa_Pueblo | P2 | ENERGIA_AUSENCIA CON DESCARGA BB | 1 | 05:44:42 | PASCO | OXAPAMPA | OXAPAMPA | canceled | Carlos Lazo | 2026-09-13 08:16:33 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-13 16:46:26 | No | Media | 1
CM-20260913-00000064 | INC-20260913-00001285 | 2026-09-13 06:09:32 | 2026-09-13 09:32:22 | completed | 2026-09-13 08:30:33 | 25622-Mains Input Out of Range |  |  | 131683 | 0131683_JU_Satipo | P2 | ENERGIA_AUSENCIA CON DESCARGA BB | 1 | 05:44:57 | JUNIN | SATIPO | SATIPO | dispatched | Carlos Lazo | 2026-09-13 08:16:18 | Type: PAUSE Reason: Grupo Electrógeno Instalado Operation time: 2026-09-13 08:42:26 Creator: mabendezu.cobra Description: Se deja instalado el grupo electrógeno portátil de 12KW por corte de energía programado de la concesionaria | Operator: user:ibendezum.cobra Complete time: Description: |  | O&M CRM | complete | IVAN DENIS BENDEZU MORALES | YES |  |  |  |  | No | Media | 1
CM-20260913-00000057 | INC-20260913-00001615 | 2026-09-13 07:19:35 | 2026-09-13 11:00:22 | completed | 2026-09-13 09:58:05 | 10202-AC Failure | Energia |  | 133548 | 0133548_LH_Aucayacu | P2 | ENERGIA_AUSENCIA CON DESCARGA BB | 1 | 06:06:11 | HUANUCO | LEONCIO PRADO | JOSE CRESPO Y CASTILLO | closed | Javier Mendez | 2026-09-13 07:55:04 | '- | Operator: user:ccastilloa.ofg Complete time: 2026-09-13 17:03:50 Description: Checklist Comepleto |  | O&M CRM | close | ELVER FLAVIANO CUBA ALVARADO | NO | 2026-09-13 17:03:51 | 2026-09-13 17:20:18 | 2026-09-13 17:20:21 |  | No | Media
CM-20260913-00000053 | INC-20260913-00000846 | 2026-09-13 03:48:41 | 2026-09-13 11:36:01 | completed | 2026-09-13 10:35:18 | 10202-AC Failure | Energia |  | 13214100 | 013214100_IC_Marcona_San_Juan | P4 | ENERGIA_AUSENCIA CON DESCARGA BB | 1 | 06:53:00 | ICA | NAZCA | MARCONA | closed | Ronald Abarca | 2026-09-13 07:08:15 | '- | Operator: user:System Complete time: 2026-09-13 11:19:34 Description: Checklist Comepleto |  | O&M CRM | close | BRIAN JESUS CABRERA ASCENCIO | NO | 2026-09-13 11:19:34 | 2026-09-13 11:19:55 | 2026-09-13 11:19:56 |  | No | Media | 1
CM-20260913-00000048 | INC-20260913-00001279 | 2026-09-13 06:09:03 | 2026-09-13 21:08:07 | completed | 2026-09-13 20:07:41 | 10202-AC Failure |  |  | 133004 | 0133004_JU_Pichanaki | P1 | ENERGIA_AUSENCIA CON DESCARGA BB | 1 | 07:14:16 | JUNIN | CHANCHAMAYO | PICHANAQUI | canceled | Carlos Lazo | 2026-09-13 06:46:59 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-13 21:08:07 | No | Alta | 1
CM-20260913-00000043 | INC-20260913-00000065 | 2026-09-13 00:21:39 | 2026-09-13 19:56:03 | completed | 2026-09-13 07:55:53 | 26234-BBU CPRI Interface Error |  |  | 131128 | 0131128_MQ_Rotonda_De_La_Juven | P2 | ACC PERDIDA GESTION_HW FAULT | 1 | 07:34:41 | MOQUEGUA | MARISCAL NIETO | MOQUEGUA | canceled | Lenin Quispe | 2026-09-13 06:26:34 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-13 19:56:03 | No | Baja | 1
CM-20260913-00000027 | INC-20260913-00000204 | 2026-09-13 00:55:44 | 2026-09-13 05:18:07 | completed | 2026-09-13 04:17:58 | 10202-AC Failure |  |  | 13204033 | 013204033_LH_Milagros_Huanuco | P4 | ENERGIA_AUSENCIA CON DESCARGA BB | 1 | 09:46:49 | HUANUCO | PUERTO INCA | HONORIA | canceled | Javier Mendez | 2026-09-13 04:14:26 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-13 05:18:08 | No | Media
CM-20260913-00000023 | INC-20260913-00000540 | 2026-09-13 02:42:39 |  | running |  | 26235-RF Unit Maintenance Link Failure |  | Partial | 134398 | 0134398_JU_Terminal_Hyo | P4 | ACC FALLO RED TEC_AFECTACION NODO | 1 | 10:42:42 | JUNIN | HUANCAYO | EL TAMBO | unscheduled | Carlos Lazo | 2026-09-13 03:18:33 | '- | '- |  | O&M CRM | create |  | NO |  |  |  |  | No | Media | 1
CM-20260913-00000019 | INC-20260912-00005339 | 2026-09-12 14:37:04 | 2026-09-14 04:36:07 | completed | 2026-09-13 04:34:41 | 8802-Rectifier Missing |  |  | 130938 | 0130938_AQ_Chala | P1 | ENERGIA_FALLA RECTIFICADOR(ES) | 1 | 11:29:00 | AREQUIPA | CARAVELI | CHALA | canceled | Ivan Bueno | 2026-09-13 02:32:15 | '- | '- |  | O&M CRM | dispatch | MOISES ANGEL AYÑAYANQUI RIOS | NO |  |  |  | 2026-09-14 04:36:08 | No | Media | 0
CM-20260913-00000008 | INC-20260912-00008131 | 2026-09-12 21:58:08 | 2026-09-13 15:56:08 | completed | 2026-09-13 14:54:49 | 10202-AC Failure |  |  | 13221060 | 013221060_JU_Wayra | P4 | ENERGIA_AUSENCIA CON DESCARGA BB | 1 | 12:42:58 | JUNIN | HUANCAYO | HUANCAYO | closed | Carlos Lazo | 2026-09-13 01:18:17 | '- | Operator: user:System Complete time: 2026-09-13 11:49:17 Description: Checklist Comepleto |  | O&M CRM | close | RAUL RIVERA TRUCIOS | NO | 2026-09-13 11:49:18 | 2026-09-13 11:50:10 | 2026-09-13 11:50:11 |  | No | Media | 1
CM-20260913-00000005 | INC-20260913-00000035 | 2026-09-13 00:15:59 | 2026-09-13 08:18:06 | completed | 2026-09-13 07:56:06 | 29240-Cell Unavailable |  |  | 131128 | 0131128_MQ_Rotonda_De_La_Juven | P2 | ACC FALLO RED TEC_AFECTACION NODO | 1 | 13:08:42 | MOQUEGUA | MARISCAL NIETO | MOQUEGUA | unscheduled | Lenin Quispe | 2026-09-13 00:52:33 | '- | '- |  | O&M CRM | create |  | NO |  |  |  |  | No | Media | 1
CM-20260913-00000003 | INC-20260913-00000023 | 2026-09-13 00:10:56 | 2026-09-13 01:44:13 | completed | 2026-09-13 00:42:04 | 301-NE Is Disconnected |  |  | 133770 | 0133770_AY_Tambo | P2 | FALLO DE RED_ENERGIA | 1 | 13:34:57 | AYACUCHO | LA MAR | TAMBO | canceled | Juan Pelaez | 2026-09-13 00:26:18 | '- | '- |  | O&M CRM | dispatch | EMANUEL SAMUEL CONTRERAS ZEGARRA | NO |  |  |  | 2026-09-13 01:44:13 | No | Alta | 1
CM-20260912-00000298 | INC-20260912-00008458 | 2026-09-12 23:31:05 | 2026-09-13 02:28:03 | completed | 2026-09-13 00:17:35 | 301-NE Is Disconnected |  |  | 133541 | 0133541_LH_Monterrey | P3 | FALLO DE RED_ENERGIA | 1 | 14:14:12 | HUANUCO | LEONCIO PRADO | MARIANO DAMASO BERAUN | canceled | Javier Mendez | 2026-09-12 23:47:03 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-13 02:28:03 | No | Alta | 1
CM-20260912-00000297 | INC-20260912-00008460 | 2026-09-12 23:31:04 | 2026-09-13 01:02:51 | completed | 2026-09-13 00:00:08 | 301-NE Is Disconnected |  |  | 13201588 | 013201588_LH_San_Miguel_Chaglla | P4 | FALLO DE RED_ENERGIA | 1 | 14:14:44 | HUANUCO | PACHITEA | CHAGLLA | canceled | Javier Mendez | 2026-09-12 23:46:31 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-13 01:02:51 | No | Alta | 1
CM-20260912-00000291 | INC-20260912-00007661 | 2026-09-12 20:25:51 | 2026-09-13 05:22:02 | completed | 2026-09-13 04:20:14 | 999100226-Baja capacidad de banco de bateria de litio por descarga | Energia |  | 133542 | 0133542_LH_Bomboncocha | P2 | ENERGIA_AUSENCIA CON DESCARGA BB | 1 | 15:28:43 | HUANUCO | HUANUCO | CHURUBAMBA | closed | Javier Mendez | 2026-09-12 22:32:32 | Type: PAUSE Reason: Otros Operation time: 2026-09-13 12:08:49 Creator: cezevallos.cobra Description: Se esperará Type: RESUME Reason: Operation time: 2026-09-13 13:02:22 Creator: cezevallos.cobra Description: Se cierra ticket | Operator: user:System Complete time: 2026-09-13 13:14:52 Description: Checklist Comepleto |  | O&M CRM | close | CESAR ANTONIO ZEVALLOS CERNA | NO | 2026-09-13 13:14:53 | 2026-09-13 13:15:11 | 2026-09-13 13:15:13 |  | No | Media | 0
CM-20260912-00000289 | INC-20260912-00008149 | 2026-09-12 22:02:52 | 2026-09-13 04:12:02 | completed | 2026-09-13 03:10:48 | 301-NE Is Disconnected | Energia |  | 133542 | 0133542_LH_Bomboncocha | P2 | FALLO DE RED_ENERGIA | 1 | 15:42:42 | HUANUCO | HUANUCO | CHURUBAMBA | closed | Javier Mendez | 2026-09-12 22:18:33 | Type: PAUSE Reason: Otros Operation time: 2026-09-13 04:09:59 Creator: cezevallos.cobra Description: Se mantiene en monitoreo Type: RESUME Reason: Operation time: 2026-09-13 12:49:23 Creator: cezevallos.cobra Description: Se cierra ticket | Operator: user:System Complete time: 2026-09-13 13:01:37 Description: Checklist Comepleto |  | O&M CRM | close | CESAR ANTONIO ZEVALLOS CERNA | NO | 2026-09-13 13:01:38 | 2026-09-13 13:01:59 | 2026-09-13 13:02:01 |  | No | Alta | 1
CM-20260912-00000284 | INC-20260912-00008188 | 2026-09-12 22:10:37 | 2026-09-13 00:36:09 | completed | 2026-09-12 23:35:02 | 65116-GE2 Warning |  |  | 13214029 | 013214029_IC_San_Antonio_Ica | P4 | ENTORNO_FALLA DE GEE | 1 | 15:49:00 | ICA | ICA | SANTIAGO | canceled | Ronald Abarca | 2026-09-12 22:12:15 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-13 00:36:10 | No | Baja | 0
CM-20260912-00000281 | INC-20260912-00008090 | 2026-09-12 21:50:59 |  | running | 2026-09-12 21:55:44 | 1-NE_COMMU_BREAK |  |  | 164056 | 0164056_LH_LE_Huanuco_AMT | P1 | GESTION | 1 | 15:59:41 | HUANUCO | HUANUCO | HUANUCO | unscheduled | Javier Mendez | 2026-09-12 22:01:34 | '- | '- |  | O&M TX | create |  | NO |  |  |  |  | No | Baja
CM-20260912-00000279 | INC-20260912-00005513 | 2026-09-12 14:56:40 | 2026-09-13 09:58:06 | completed | 2026-09-13 06:37:32 | 2501200006-AC Surge Protector Fault - FALLA EQ GESTION | Energia |  | 134357 | 0134357_AY_Lecclespata | P2 | ENTORNO_FALLA EQ/GESTION | 1 | 16:10:43 | AYACUCHO | HUAMANGA | AYACUCHO | closed | Juan Pelaez | 2026-09-12 21:50:32 | Type: PAUSE Reason: Otros Operation time: 2026-09-13 06:46:36 Creator: reapaico.cobra Description: Faena de combustible Type: RESUME Reason: Operation time: 2026-09-14 06:27:07 Creator: reapaico.cobra Description: Atención de alarma | Operator: user:System Complete time: 2026-09-14 06:27:29 Description: Checklist Comepleto |  | O&M CRM | close | REYNER APAICO HURTADO | NO | 2026-09-14 06:27:30 | 2026-09-14 06:27:54 | 2026-09-14 06:27:55 |  | No | Baja | 0
CM-20260912-00000275 | INC-20260912-00007978 | 2026-09-12 21:25:42 |  | running |  | 13069-RADIO_RSL_BEYONDTH |  |  | 133709 | 0133709_AY_Avelino | P3 | DEGRADACION | 1 | 16:34:44 | AYACUCHO | HUAMANGA | AYACUCHO | inprocess | Juan Pelaez | 2026-09-12 21:26:31 | Type: PAUSE Reason: Restricciones de acceso por parte de terceros notificada a ENTEL Operation time: 2026-09-13 11:31:13 Creator: emcontreras.cobra Description: Propietario no se encuentra en domicilio | Operator: user:emcontreras.cobra Complete time: Description: |  | O&M TX | depart | EMANUEL SAMUEL CONTRERAS ZEGARRA | YES |  |  |  |  | No | Minor | 1
CM-20260912-00000276 | INC-20260912-00007866 | 2026-09-12 21:09:12 |  | running |  | 2412100014-Bajo nivel de combustible - GE |  |  | 132369 | 0132369_AQ_Piedras_Blancas | P1 | ENTORNO_BAJO NIVEL COMBUSTIBLE | 1 | 16:34:44 | AREQUIPA | CARAVELI | ATICO | unscheduled | Ivan Bueno | 2026-09-12 21:26:31 | '- | '- |  | O&M CRM | create |  | NO |  |  |  |  | No | Media | 0
CM-20260912-00000273 | INC-20260912-00007938 | 2026-09-12 21:18:27 |  | running | 2026-09-13 18:06:18 | 29240-Cell Unavailable |  |  | 133580 | 0133580_JU_Asuncion | P2 | ACC FALLO RED TEC_AFECTACION NODO | 1 | 16:40:41 | JUNIN | SATIPO | PANGOA | unscheduled | Carlos Lazo | 2026-09-12 21:20:34 | '- | '- |  | O&M CRM | create |  | NO |  |  |  |  | No | Media | 18
CM-20260912-00000267 | INC-20260912-00004787 | 2026-09-12 13:33:11 |  | running |  | 2501200006-AC Surge Protector Fault - FALLA EQ GESTION |  |  | 133779 | 0133779_AY_Vilcashuaman_Vischo | P3 | ENTORNO_FALLA EQ/GESTION | 1 | 17:35:00 | AYACUCHO | VILCAS HUAMAN | VILCAS HUAMAN | unscheduled | Juan Pelaez | 2026-09-12 20:26:15 | '- | '- |  | O&M CRM | create |  | NO |  |  |  |  | No | Baja | 0
CM-20260912-00000261 | INC-20260912-00007454 | 2026-09-12 19:50:54 | 2026-09-13 02:52:03 | completed | 2026-09-13 00:41:35 | 301-NE Is Disconnected |  |  | 134356 | 0134356_AY_Qeqra | P3 | FALLO DE RED_ENERGIA | 1 | 17:54:15 | AYACUCHO | LA MAR | TAMBO | canceled | Juan Pelaez | 2026-09-12 20:07:00 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-13 02:52:04 | No | Alta | 1
CM-20260912-00000258 | INC-20260912-00007124 | 2026-09-12 19:01:05 | 2026-09-13 08:30:02 | completed | 2026-09-12 22:28:49 | 5152-Door Open Alarm |  |  | 132866 | 0132866_PN_Dorsal_Sallahuanca | P1 | ENERGIA_PUERTAS/INTRUSION | 1 | 17:58:40 | PUNO | MELGAR | MACARI | canceled | Lenin Quispe | 2026-09-12 20:02:35 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-13 08:30:02 | No | Media | 1
CM-20260912-00000250 | INC-20260912-00006008 | 2026-09-12 16:00:09 | 2026-09-13 13:36:14 | completed | 2026-09-13 08:05:06 | 13801-Battery Discharge |  |  | 13311635 | 013311635_PN_JuliacaLampa | P4 | ENERGIA_AUSENCIA CON DESCARGA BB | 1 | 18:38:13 | PUNO | SAN ROMAN | JULIACA | closed | Lenin Quispe | 2026-09-12 19:23:02 | Type: PAUSE Reason: Otros Operation time: 2026-09-13 06:08:44 Creator: abchirinos.cobra Description: Contingencia sitio Type: RESUME Reason: Operation time: 2026-09-13 08:09:47 Creator: masoto.cobra Description: Se llega a sitio | Operator: user:masoto.cobra Complete time: Description: Operator: user:System Complete time: 2026-09-13 08:25:04 Description: Checklist Comepleto |  | O&M CRM | close | MARCO ANTONIO SOTO BENIQUE | NO | 2026-09-13 08:25:05 | 2026-09-13 08:26:07 | 2026-09-13 08:26:08 |  | No | Media | 1
CM-20260912-00000246 | INC-20260912-00007063 | 2026-09-12 18:52:59 |  | running | 2026-09-13 17:41:23 | 13069-RADIO_RSL_BEYONDTH |  |  | 133058 | 0133058_JU_Mazamari | P4 | DEGRADACION | 1 | 19:06:59 | JUNIN | SATIPO | MAZAMARI | unscheduled | Carlos Lazo | 2026-09-12 18:54:16 | '- | '- |  | O&M TX | create |  | NO |  |  |  |  | No | Minor | 1
CM-20260912-00000240 | INC-20260912-00005297 | 2026-09-12 14:32:26 |  | running |  | 65141-GE Running |  |  | 130938 | 0130938_AQ_Chala | P1 | ENTORNO_GEE RUNNING | 1 | 19:34:39 | AREQUIPA | CARAVELI | CHALA | dispatched | Ivan Bueno | 2026-09-12 18:26:36 | '- | '- |  | O&M CRM | dispatch | MOISES ANGEL AYÑAYANQUI RIOS | NO |  |  |  |  | No | Baja | 0
CM-20260912-00000233 | INC-20260912-00005855 | 2026-09-12 15:34:52 | 2026-09-12 20:56:07 | completed | 2026-09-12 19:54:39 | 10202-AC Failure |  |  | 133311 | 0133311_LH_Minas_Pampa | P2 | ENERGIA_AUSENCIA CON DESCARGA BB | 1 | 20:20:38 | HUANUCO | YAROWILCA | JACAS CHICO | canceled | Javier Mendez | 2026-09-12 17:40:37 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-12 20:56:07 | No | Media | 1
CM-20260912-00000230 | INC-20260912-00003486 | 2026-09-12 11:01:30 | 2026-09-13 02:26:05 | completed | 2026-09-13 01:25:07 | 25622-Mains Input Out of Range | Energia |  | 130938 | 0130938_AQ_Chala | P1 | ENERGIA_AUSENCIA CON DESCARGA BB | 1 | 20:44:54 | AREQUIPA | CARAVELI | CHALA | closed | Ivan Bueno | 2026-09-12 17:16:21 | Type: PAUSE Reason: Otros Operation time: 2026-09-12 18:19:42 Creator: moayñayanqui.cobra Description: Se instala GEP por corte imprevisto Type: RESUME Reason: Operation time: 2026-09-14 12:58:18 Creator: moayñayanqui.cobra Description: En ruta | Operator: user:System Complete time: 2026-09-14 13:09:15 Description: Checklist Comepleto |  | O&M CRM | close | MOISES ANGEL AYÑAYANQUI RIOS | NO | 2026-09-14 13:09:15 | 2026-09-14 13:09:38 | 2026-09-14 13:09:40 |  | No | Alta | 1
CM-20260912-00000227 | INC-20260912-00004886 | 2026-09-12 13:40:54 |  | running | 2026-09-12 13:39:06 | 25622-Mains Input Out of Range |  |  | 133778 | 0133778_AY_Vilcas_Pueblo | P4 | ENERGIA_AUSENCIA CON DESCARGA BB | 1 | 21:00:34 | AYACUCHO | VILCAS HUAMAN | VILCAS HUAMAN | unscheduled | Juan Pelaez | 2026-09-12 17:00:41 | '- | '- |  | O&M CRM | create |  | NO |  |  |  |  | No | Media | 1
CM-20260912-00000222 | INC-20260912-00004647 | 2026-09-12 13:17:08 | 2026-09-12 23:58:15 | completed | 2026-09-12 22:56:43 | 10202-AC Failure | Energia |  | 130970 | 0130970_AQ_Misti | P4 | ENERGIA_AUSENCIA CON DESCARGA BB | 1 | 21:22:58 | AREQUIPA | AREQUIPA | CERRO COLORADO | closed | Ivan Bueno | 2026-09-12 16:38:17 | '- | Operator: user:System Complete time: 2026-09-12 20:21:08 Description: Checklist Comepleto |  | O&M CRM | close | RONALD CCOATA CIEZA | NO | 2026-09-12 20:21:09 | 2026-09-12 20:21:28 | 2026-09-12 20:21:29 |  | No | Media | 3
CM-20260912-00000220 | INC-20260912-00004740 | 2026-09-12 13:29:35 | 2026-09-13 07:22:04 | completed | 2026-09-13 06:21:14 | 13801-Battery Discharging | Energia |  | 134356 | 0134356_AY_Qeqra | P3 | ENERGIA_AUSENCIA CON DESCARGA BB | 1 | 21:36:59 | AYACUCHO | LA MAR | TAMBO | closed | Juan Pelaez | 2026-09-12 16:24:16 | Type: PAUSE Reason: Restricciones por temas de seguridad personal Operation time: 2026-09-12 22:45:06 Creator: emcontreras.cobra Description: Zona contingente Type: RESUME Reason: Operation time: 2026-09-13 03:34:04 Creator: emcontreras.cobra Description: . | Operator: user:System Complete time: 2026-09-13 03:56:48 Description: Checklist Comepleto |  | O&M CRM | close | EMANUEL SAMUEL CONTRERAS ZEGARRA | NO | 2026-09-13 03:56:48 | 2026-09-13 03:57:36 | 2026-09-13 03:57:38 |  | No | Media | 1
CM-20260912-00000216 | INC-20260912-00003047 | 2026-09-12 09:58:59 | 2026-09-13 04:22:01 | completed | 2026-09-12 16:20:30 | 26234-BBU CPRI Interface Error |  |  | 134074 | 0134074_MQ_Alto_Ilo_R1 | P1 | ACC PERDIDA GESTION_HW FAULT | 1 | 21:56:57 | MOQUEGUA | ILO | ILO | canceled | Lenin Quispe | 2026-09-12 16:04:18 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-13 04:22:01 | No | Baja | 1
CM-20260912-00000205 | INC-20260912-00005638 | 2026-09-12 15:10:49 | 2026-09-12 16:34:13 | completed | 2026-09-12 15:33:36 | 1550-Mains Failure |  |  | 133749 | 0133749_JU_Rp_La_Oroya_BBU1 | P0 | ENERGIA_AUSENCIA CON DESCARGA BB | 1 | 22:48:17 | JUNIN | YAULI | LA OROYA | canceled | Carlos Lazo | 2026-09-12 15:12:58 | '- | '- |  | O&M CRM | dispatch | IVAN DENIS BENDEZU MORALES | NO |  |  |  | 2026-09-12 16:34:13 | No | Critica | 1
CM-20260912-00000207 | INC-20260912-00005622 | 2026-09-12 15:10:10 | 2026-09-12 18:08:10 | completed | 2026-09-12 17:06:13 | 2504230003-GE1 Warning |  |  | 133749 | 0133749_JU_Rp_La_Oroya_BBU1 | P0 | ENTORNO_FALLA DE GEE | 1 | 22:48:42 | JUNIN | YAULI | LA OROYA | canceled | Carlos Lazo | 2026-09-12 15:12:33 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-12 18:08:10 | No | Alta | 0
CM-20260912-00000206 | INC-20260912-00005628 | 2026-09-12 15:10:16 | 2026-09-12 18:08:06 | completed | 2026-09-12 17:06:13 | 2412100014-Bajo nivel de combustible - GE |  |  | 133749 | 0133749_JU_Rp_La_Oroya_BBU1 | P0 | ENTORNO_BAJO NIVEL COMBUSTIBLE | 1 | 22:48:59 | JUNIN | YAULI | LA OROYA | canceled | Carlos Lazo | 2026-09-12 15:12:16 | '- | '- |  | O&M CRM | create |  | NO |  |  |  | 2026-09-12 18:08:07 | No | Alta | 0
CM-20260912-00000203 | INC-20260912-00003848 | 2026-09-12 11:53:32 | 2026-09-12 16:42:03 | completed | 2026-09-12 15:41:32 | 10202-AC Failure | Energia |  | 131623 | 0131623_JU_Huancayo_Universidad_Andes | P4 | ENERGIA_AUSENCIA CON DESCARGA BB | 1 | 22:53:55 | JUNIN | HUANCAYO | HUANCAYO | closed | Carlos Lazo | 2026-09-12 15:07:20 | '- | Operator: user:ccastilloa.ofg Complete time: 2026-09-12 15:51:04 Description: Checklist Comepleto |  | O&M CRM | close | MIGUEL ANGEL HINOJOSA EGOAVIL | NO | 2026-09-12 15:51:04 | 2026-09-12 15:51:16 | 2026-09-12 15:51:17 |  | No | Media